## Location
KKS | name | Location | mType | mPoint | mTime
MMP-T00HTJ06AN001 | Dust Collector Fan | Mae Moh Power Plant | vibration | 8 | 10
MMP-T00HTK24AP001 | CMN. Reagent Feed Pump#1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T00HTK26AP001 | CMN. Reagent Feed Pump#2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T00HTK31AP010 | WBM.Low Pressure Oil Pump | Mae Moh Power Plant | vibration | 8 | 10
MMP-T00HTK31AP011 | High Pressure Oil Pump | Mae Moh Power Plant | vibration | 8 | 10
MMP-T00HTK35AP001 | Mill Recycle Pump No.1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T00HTK37AP001 | Mill Recycle Pump No.2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T00HTQ16AP001 | Recaim.WTR Distributing Pump #1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T00HTQ17AP001 | Recaim.WTR Distributing Pump #2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T00HTQ18AP001 | Recaim.WTR Distributing Pump #3 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T00HTQ19AP001 | Recaim.WTR Distributing Pump #3 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T00HTQ20AP001 | Blow Down 12-13 Pump#1 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T00HTQ21AP001 | Blow Down 12-13 Pump#2 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T00HTQ22AP001 | Reclaim.Buffer Pump #1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T00HTQ24AP001 | Reclaim.Buffer Pump #2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14BAA20AN001 | H2 Ventilation fan no.1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14BAA20AN002 | H2 Ventilation fan no.2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14BAT11AN701 | GSUT. Ph A Cooling Fan No.1-10 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14BAT11AP001 | GSUT. Ph A Oil Cir.Pump No.1-4 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14BAT12AN701 | GSUT. Ph B Cooling Fan No.1-10 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14BAT12AP001 | GSUT. Ph B Oil Cir.Pump 1-4 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14BAT13AN701 | GSUT. Ph C Cooling Fan No.1-10 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14BAT13AP001 | GSUT. Ph C Oil Cir.Pump No.1-4 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14BBT10AN001 | UAT.Cooling Fan No.1-12 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14BCT10AN700 | SST.1 Cooling Fan No.1-8 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14BCT20AN700 | SST.2 Cooling Fan No.1-8 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14BHH08AN104 | C46 VENT FAN AT NEW CROSS CB | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14BHH08AN105 | C46 VENT FAN AT TRANSFER STATION 2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14EBE01AN001 | Dust Coll.Sys.1 Fan Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14EBE02AN001 | Dust Coll.Sys.2 Fan Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14EBE03AN001 | Dust Coll.Sys.3 Fan Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14EBE04AN001 | Dust Coll.Sys.4 Fan Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14EBE05AN001 | Dust Coll.Sys.5 Fan Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14EBE06AN001 | Dust Coll.Sys.6 Fan Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14EBE07AN001 | Dust Coll.Sys.7 Fan Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14EGC31AP001 | HP.Boiler Fuel Oil Pump A Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14EGC32AP001 | HP.Boiler Fuel Oil Pump B Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14EGC33AP001 | HP.Boiler Fuel Oil Pump C Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14EGC41AP001 | Fuel Oil Transfer Pump A Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14EGC42AP001 | Fuel Oil Transfer Pump B Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14ETG72AN001 | Fluidzed Conveyor Fan | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14ETG73AN001 | Telescopic Spout Vent Fan Equipment | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14ETG76AN006 | Pugmill Unloader A | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14ETG81AN001 | Pugmil Unloader 2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14ETP72AN001 | Fly Ash Silo Fluidizing Conveyor Fan | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14ETP91AN001 | Fly Ash Silo Fluid.Blwr.1 Manchine | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14ETP91AN011 | Fly Ash Silo Fluid.Blwr.1 Sound Vent | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14ETP92AN001 | Fly Ash Silo Fluid.Blwr.2 Manchine | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14ETP92AN011 | Fly Ash Silo Fluid.Blwr.2 Sound Vent | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GAF11AP001 | Service Water Pump Unit A | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GAF12AP001 | Service Water Pump Unit B | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GAF21AP001 | WFGD.Raw Water Pump#1 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GAF22AP001 | WFGD.Raw Water Pump#2 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GAF51AP001 | UF. Feed Pump Unit A1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GAF52AP001 | UF. Feed Pump Unit A2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GAF53AP001 | UF. Feed Pump Unit B1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GAF54AP001 | UF. Feed Pump Unit B2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GBB11AP001 | Filtration Booster Pump A | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GBB12AP001 | Filtration Booster Pump B | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GBB51AP001 | Filtering Vacuum Pump Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GCK11AP001 | RO. Feed Pump Unit A1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GCK12AP001 | RO. Feed Pump Unit A2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GCK13AP001 | RO. Feed Pump Unit B1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GCK14AP001 | RO. Feed Pump Unit B2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GCK15AP001 | UF. Backwash Pump Unit A | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GCK16AP001 | UF. Backwash Pump Unit B | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GCK21AP001 | 1ST. Pass RO. Booster Pump Unit A1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GCK22AP001 | 1ST. Pass RO. Booster Pump Unit A2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GCK23AP001 | 1ST. Pass RO. Booster Pump Unit B1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GCK24AP001 | 1ST. Pass RO. Booster Pump Unit B2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GCK31AP001 | 2ND. Pass RO. Booster Pump Unit A1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GCK32AP001 | 2ND. Pass RO. Booster Pump Unit A2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GCK41AP001 | 2ND. Pass RO. Booster Pump Unit B1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GCK42AP001 | 2ND. Pass RO. Booster Pump Unit B2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GCK51AP001 | CEDI. Feed Pump Unit A1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GCK52AP001 | CEDI. Feed Pump Unit A2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GCK53AP001 | CEDI. Feed Pump Unit B1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GCK54AP001 | CEDI. Feed Pump Unit B2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GCK61AP001 | CEDI. Booster Pump Unit A | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GCK62AP001 | CEDI. Booster Pump Unit B | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GCK63AP001 | CEDI. Booster Pump Unit C | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GCN11AP001 | UF. NaClO Feed Pump Unit A | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GCN12AP001 | UF. NaClO Feed Pump Unit B | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GCN13AP001 | UF. CEB./CIP. NaClO Pump Unit A | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GCN14AP001 | UF. CEB./CIP. NaClO Pump Unit B | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GCN20AP001 | SBS. Handy Pump Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GCN21AP001 | SBS. Feed Pump Unit A | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GCN22AP001 | SBS. Feed Pump Unit B | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GCN23AP001 | SBS. Feed Pump Unit C | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GCN31AP001 | UF. Citric Acid Pump Unit A | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GCN32AP001 | UF. Citric Acid Pump Unit B | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GCN40AP001 | Antiscalant Handy Pump Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GCN41AP001 | Antiscalant Pump Unit A | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GCN42AP001 | Antiscalant Pump Unit B | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GCN43AP001 | Antiscalant Pump Unit C | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GCN51AP001 | UF. CIP. NaOH Pump Unit A | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GCN52AP001 | UF. CIP. NaOH Pump Unit B | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GCN53AP001 | RO./CEDI. CIP. NaOH Pump Unit A | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GCN54AP001 | RO./CEDI. CIP. NaOH Pump Unit B | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GCN55AP001 | Neutralization NaOH Pump Unit A | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GCN56AP001 | Neutralization NaOH Pump Unit B | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GCN61AP001 | RO./CEDI. CIP. HCl Pump Unit A | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GCN62AP001 | RO./CEDI. CIP. HCl Pump Unit B | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GCN63AP001 | Neutralization HCl Pump Unit A | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GCN64AP001 | Neutralization HCl Pump Unit B | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GCN71AP001 | UF. CIP. Pump Unit A | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GCN72AP001 | UF. CIP. Pump Unit B | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GCN81AP001 | RO./CEDI. CIP. Pump Unit A | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GCN82AP001 | RO./CEDI. CIP. Pump Unit B | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GCR11AP001 | Neutralization Pump Unit A | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GCR12AP001 | Neutralization Pump Unit B | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GCR21AP001 | Reject Water Pump Unit A | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GCR22AP001 | Reject Water Pump Unit B | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GCY31AN001 | Regenerative Blower Unit A1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GCY31AN002 | Regenerative Blower Unit A2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GCY32AN001 | Regenerative Blower Unit B1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GCY32AN002 | Regenerative Blower Unit B2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GHA21AP001 | Service Water Distribution Pump 1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GHA22AP001 | Service Water Distribution Pump 2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GHA23AP001 | Service Water Air Heater Wash Pump | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GHC31AP001 | Demin.Water Distribution Pump 1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GHC32AP001 | Demin.Water Distribution Pump 2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GHC41AP001 | Demin.Water Quick Mu.Pump | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GHH10AP001 | Service Water Booster Pump A Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GHH10AP002 | Service Water Booster Pump B Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GKB01AP001 | Safety Shower AIG.Booster Pmp.A Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GKB01AP002 | Safety Shower AIG.Booster Pmp.B Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GKC21AP001 | Drinking Water Distribution Pump 1 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GKC22AP001 | Drinking Water Distribution Pump 2 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GKT15AP011 | SRS Filter Press HP FLHSG Pump | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GMA21AP001 | Used Water Pump 1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GMA22AP001 | Used Water Pump 2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GMA42AP001 | TB.Hall Waste Wtr.Pit Pump 42 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GMA43AP001 | TB.Hall Waste Wtr.Pit Pump 43 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GMA52AP001 | TB.Hall Cold Drn.Pit Pump 52 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GMA53AP001 | TB.Hall Cold Drn.Pit Pump 53 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GMA62AP001 | TB.Hall Oily Water Pit Pump 62 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GMA63AP001 | TB.Hall Oily Water Pit Pump 63 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GMA72AP001 | TB.Hall Owr.Pit Pump 72 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GMA73AP001 | TB.Hall Owr.Pit Pump 73 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GMC41AP001 | Oil Water Separator GMC41 Pump 1 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GMC41AP002 | Oil Water Separator GMC41 Pump 2 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GMC42AP001 | Oil Water Separator GMC42 Pump 1 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GMC42AP002 | Oil Water Separator GMC42 Pump 2 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GMC61AP001 | FGD Oily Waste Sump Pump 1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GMC61AP002 | FGD Oily Waste Sump Pump 2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GMC62AP001 | Boiler Oily Waste Sump Pump 1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GMC62AP002 | Boiler Oily Waste Sump Pump 2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GMC63AP001 | Fly Ash Comp.Waste Sump Pump 1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GMC63AP002 | Fly Ash Comp.Waste Sump Pump 2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GMC64AP001 | Demi.Plt.Oily Waste Sump Pump 1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GMC64AP002 | Demi.Plt.Oily Waste Sump Pump 2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GMH11AP001 | Boiler Rear Area Drain Pump A Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GMH12AP001 | Boiler Rear Area Drain Pump B Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GMH21AP001 | APH.Wash Pond Pit Pump A Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GMH22AP001 | APH.Wash Pond Pit Pump B Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GMH31AP001 | NH3 Sump Pit Pump A Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GMH32AP001 | NH3 Sump Pit Pump B Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GNN11AP001 | CW.Inhibitor Drum Pump | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GNN21AP001 | CW.Inhibitor Feed Pump A | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GNN22AP001 | CW.Inhibitor Feed Pump B | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GNN23AP001 | Neutralization Acid Feed Pump A Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GNN23AP002 | Neutralization Acid Feed Pump B Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GNN24AP001 | Neutralization Caustic Feed Pump A Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GNN24AP002 | Neutralization Caustic Feed Pump B Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GNN41AP001 | Neutralization Pump A Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GNN41AP002 | Neutralization Pump B Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GNN51AP001 | CW Acid Feed A | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GNN52AP001 | CW Acid Feed B | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GNN53AP001 | CW.Neu.Acid Feed Pump A | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GNN54AP001 | CW.Acid Feed Pump B | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GQA31AP001 | Demin Build Sump Pumps#1 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GQA31AP002 | Demin Build Sump Pumps#2 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GQA32AP001 | TB Build Toilets Sump Pumps#1 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GQA32AP002 | TB Build Toilets Sump Pumps#2 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GQA33AP001 | Guard House Sump Pumps#1 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GQA33AP002 | Guard House Sump Pumps#2 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GQA34AP001 | Elec Main Ctrl Build Sump Pumps#1 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GQA34AP002 | Elec Main Ctrl Build Sump Pumps#2 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GQA35AP001 | WFGD Service Build Sump Pumps#1 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GQA35AP002 | WFGD Service Build Sump Pumps#2 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GQA36AP001 | CW Treat Filtr Build Sump Pumps#1 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14GQA36AP002 | CW Treat Filtr Build Sump Pumps#2 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HAG15AP001 | Boiler Startup Economizer Pump 1 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HAG15AP002 | Boiler Startup Economizer Pump 2 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HAG15AP003 | Boiler Economizer Cooling Pump Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HAG25AP001 | Boiler Water Circulating Pump Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HAN10BR101 | Safety Valve Drn.Pipe Han10Br101 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HAN30BR207 | Safety Valve Drn.Pipe Han30Br207 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HCC02AP001 | Water Cannon Water Supply Pump A Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HCC03AP001 | Water Cannon Water Supply Pump B Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HCC11AN001 | WC.Front Wall Lwr.Seal Air Fan Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HCC12AN001 | WC.Front Wall Upr.Seal Air Fan Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HCC13AN001 | WC Fornt Vartical Wall | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HCC21AN001 | WC.Left Wall Upr.Seal Air Fan Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HCC22AN001 | WC Lift Vartical Wall | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HCC31AN001 | WC.Rear Wall Lwr.Seal Air Fan Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HCC32AN001 | WC.Rear Wall Upr.Seal Air Fan Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HCC41AN001 | WC.Right Wall Upr.Seal Air Fan Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HCC41AP001 | Right Wall Seal Air Fan Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HCC42AN001 | WC Right Vartical Wall | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HDA03AP001 | SSC.Chain Drive Hydralic Pressure Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HDA03AP002 | SSC.Chain Tensioner HPU Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HDA04AP001 | SSC.Hydraulic Pump 04AP001 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HDA51AP001 | Ash Water Pump A Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HDA52AP001 | Ash Water Pump B Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HDA53AP001 | Ash Water Pump C Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HDA61AP001 | Pulv.Reject Sluice Pump A Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HDA62AP001 | Pulv.Reject Sluice Pump B Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HDA80AP001 | Hydromixer Pump A Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HDA80AP002 | Hydromixer Pump B Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HFV10AP001 | Pulverizer A Lube Oil Pump 1 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HFV10AP002 | Pulverizer A Lube Oil Pump 2 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HFV20AP001 | Pulverizer B Lube Oil Pump 1 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HFV20AP002 | Pulverizer B Lube Oil Pump 2 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HFV30AP001 | Pulverizer C Lube Oil Pump 1 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HFV30AP002 | Pulverizer C Lube Oil Pump 2 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HFV40AP001 | Pulverizer D Lube Oil Pump 1 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HFV40AP002 | Pulverizer D Lube Oil Pump 2 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HFV50AP001 | Pulverizer E Lube Oil Pump 1 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HFV50AP002 | Pulverizer E Lube Oil Pump 2 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HFV60AP001 | Pulverizer F Lube Oil Pump 1 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HFV60AP002 | Pulverizer F Lube Oil Pump 2 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HFV70AP001 | Pulverizer G Lube Oil Pump 1 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HFV70AP002 | Pulverizer G Lube Oil Pump 2 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HFW10AN001 | Pulverizer Seal Air Fan A Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HFW20AN001 | Pulverizer Seal Air Fan B Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HHQ03AN001 | Scanner Cooling Air Fan A Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HHQ04AN001 | Scanner Cooling Air Fan B Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HHS10AN001 | Purge Air Fan Line1, ESP-1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HHS10AN002 | Purge Air Fan Line2, ESP-1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HHS20AN001 | Purge Air Fan Line1, ESP-2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HHS20AN002 | Purge Air Fan Line2, ESP-2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HLB10AN001 | FD.Fan A Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HLB10AP001 | FD.Fan A Hydr/Lube Oil Pumps 1 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HLB10AP002 | FD.Fan A Hydr/Lube Oil Pumps 2 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HLB20AN001 | FD.Fan B Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HLB20AP001 | FD.Fan B Hydr/Lube Oil Pumps 1 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HLB20AP002 | FD.Fan B Hydr/Lube Oil Pumps 2 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HLB30AN001 | PA.Fan A Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HLB30AP001 | PA.Fan A Lube Oil Pump 1 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HLB30AP002 | PA.Fan A Lube Oil Pump 2 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HLB40AN001 | PA.Fan B Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HLB40AP001 | PA.Fan B Lube Oil Pump 1 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HLB40AP002 | PA.Fan B Lube Oil Pump 2 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HLD10AP001 | APH.A Guide Brg.Oil Pump 1 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HLD10AP002 | APH.A Guide Brg.Oil Pump 2 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HLD10AP003 | APH.A Support Brg.Oil Pump 1 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HLD10AP004 | APH.A Support Brg.Oil Pump 2 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HLD20AP001 | APH.B Guide Brg.Oil Pump 1 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HLD20AP002 | APH.B Guide Brg.Oil Pump 2 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HLD20AP003 | APH.B Support Brg.Oil Pump 1 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HLD20AP004 | APH.B Support Brg.Oil Pump 2 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HNA12AN001 | SCR A Inlet Dmaper Seal Air Fan Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HNA13AN001 | SCR A Outlet Damper Seal Air Fan Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HNA22AN001 | SCR B Inlet Damper Seal Air Fan Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HNA23AN001 | SCR B Outlet Damper Seal Air Fan Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HNA31AN001 | ESP-1 Inlet Guillotin Seal Air Damper | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HNA32AN001 | ESP-1 Outlet Guillotin Seal Air Damper | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HNA41AN001 | ESP-2 Inlet Guillotin Seal Air Damper | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HNA42AN001 | ESP-2 Outlet Guillotin Seal Air Damper | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HNC10AN001 | ID Fan A Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HNC10AN002 | ID Fan A Seal Air Fan 1 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HNC10AN003 | ID Fan A Seal Air Fan 2 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HNC10AN004 | ID Fan A Seal Air Fan 3 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HNC10AN005 | ID Fan A Seal Air Fan 4 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HNC10AP001 | ID Fan A Hydr/Lube Oil Pump 1 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HNC10AP002 | ID Fan A Hydr/Lube Oil Pump 2 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HNC20AN001 | ID Fan B Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HNC20AN002 | ID Fan B Seal Air Fan 1 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HNC20AN003 | ID Fan B Seal Air Fan 2 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HNC20AN004 | ID Fan B Seal Air Fan 3 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HNC20AN005 | ID Fan B Seal Air Fan 4 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HNC20AP001 | ID Fan B Hydr/Lube Oil Pump 1 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HNC20AP002 | ID Fan B Hydr/Lube Oil Pump 2 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HSG10AN001 | Dilution Air Dehumidifier Blower Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HSG21AN001 | Dilution Air Fan A Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HSG22AN001 | Dilution Air Fan B Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HSJ10AP001 | SCR NH3 Strg Tank Liquid Pump Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HSJ21AP001 | NH3 Pump A Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HSJ22AP001 | NH3 Pump B Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HSL10AP001 | Dehumidifier Water Pump Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTB11AN001 | GGH Seal Air Fan#1 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTB12AN001 | GGH Seal Air Fan#2 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTB31AN001 | GGH Seal Gas Fan Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTC11AN001 | BUF#1 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTC11AN002 | BUF#1 Diffuser Seal Air Fan#1 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTC11AN003 | BUF#1 Diffuser Seal Air Fan#2 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTC11AN004 | BUF#1 Inlet Box Seal Air Fan#1 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTC11AN005 | BUF#1 Inlet Box Seal Air Fan#2 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTC11AN006 | BUF#1 Actuator Regulating Drive Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTC11AN007 | BUF#1 Oil Cabinet Ventilation | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTC11AP001 | BUF#1 Hydraulic & Lube Oil P#1 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTC11AP002 | BUF#1 Hydraulic & Lube Oil P#2 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTC11AP003 | BUF#1Lube Oil Pump(DC Motor) Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTC12AN001 | BUF#2 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTC12AN002 | BUF#2 Diffuser Seal Air Fan.1 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTC12AN003 | BUF#2 Diffuser Seal Air Fan.2 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTC12AN004 | BUF#2 INL.Box Seal Air Fan.1 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTC12AN005 | BUF#2 INL.Box Seal Air Fan.2 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTC12AN006 | BUF#2 Actuator Regulating Drive Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTC12AN007 | BUF#2 Oil Tnk.1 CAB Ventilation Fan | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTC12AP001 | BUF#2 Hydraulic & Lube Oil P#1 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTC12AP002 | BUF#2 Hydraulic & Lube Oil P#2 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTC12AP003 | BUF#2 Lub.P.(DC Motor) Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTD21AP001 | ARP#1 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTD21AP002 | ARP#1 Lube oil Pump 1 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTD21AP003 | ARP#1 Lube oil Pump 2 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTD22AP001 | ARP#2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTD22AP002 | ARP#2 Lube oil Pump 1 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTD22AP003 | ARP#2 Lube oil Pump 2 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTD23AP001 | ARP#3 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTD23AP002 | ARP#3 Lube oil Pump 1 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTD23AP003 | ARP#3 Lube oil Pump 2 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTD24AP001 | ARP#4 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTD24AP002 | ARP#4 Lube oil Pump 1 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTD24AP003 | ARP#4 Lube oil Pump 2 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTD25AP001 | ARP#5 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTD25AP002 | ARP#5 Lube oil Pump 1 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTD25AP003 | ARP#5 Lube oil Pump 2 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTD26AP001 | ARP#6 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTD26AP002 | ARP#6 Lube oil Pump 1 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTD26AP003 | ARP#6 Lube oil Pump 2 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTF21AP001 | Aux.Storage Transfer Pump#1 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTF22AP001 | Aux.Storage Transfer Pump#2 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTG11AN001 | OAB#1 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTG11AN002 | FGD.OAB #1 Acoustic Vent Fan | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTG11AP001 | OAB#1 Aux.Oil Pump Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTG11AP002 | OAB#1 Machanical Oil Pump | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTG12AN001 | OAB#2 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTG12AN002 | FGD.OAB #2 Acoustic Vent Fan | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTG12AP001 | OAB#2 Aux.Oil Pump Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTG12AP002 | OAB#2 Machanical Oil Pump | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTG13AN001 | OAB#3 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTG13AN002 | FGD.OAB #3 Acoustic Vent Fan | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTG13AP001 | OAB#3 Aux.Oil Pump Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTG13AP002 | OAB#3 Machanical Oil Pump | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTM11AP001 | Absorber Bleed P#1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTM12AP001 | Absorber Bleed P#2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTM31AP001 | Local Gypsum Slurry P#1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTM32AP001 | Local Gypsum Slurry P#2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTM41AP001 | Purge Pump#1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTM42AP001 | Purge Pump#2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTM51AN001 | Vacuum Pump#1 Gear Box Vent.Fan Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTM51AP001 | Vacuum Pump#1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTM51AP002 | Vacuum Pump#1 Gear Box Lube oil Pump | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTM52AN001 | Vacuum Pump#2 Gear Box Vent.Fan Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTM52AP001 | Vacuum Pump#2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTM52AP002 | Vac.Pump#2 Gear Box Lube Oil Pump Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTM61AP001 | Reclaim Water Pump#1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTM62AP001 | Reclaim Water Pump#2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTM71AP001 | Equalization Pump#1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTM72AP001 | Equalization Pump#2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTM80AP001 | SRS Clarifier Sludge Pump#1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTM80AP002 | SRS Clarifier Sludge Pump#2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTM81AP001 | SRS Treated Water Pump#1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTM81AP002 | SRS Treated Water Pump#2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTM82AP001 | SRS Filter Press Feed Pump #1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTM82AP002 | SRS Filter Press Feed Pump #2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTM82AP003 | SRS Filter Press Hydraulic Pump | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTM83AP001 | SRS Sump Pit Pump#1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTM83AP002 | SRS Sump Pit Pump#2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTM84AP001 | SRS Caustic Dosing Pump #1 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTM84AP002 | SRS Caustic Dosing Pump #2 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTM85AP001 | SRS Ferric Dosing Pump#1 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTM85AP002 | SRS Ferric Dosing Pump#2 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTM86AP001 | FGD SRS Polymer Dosing Pump #1 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTM86AP002 | FGD SRS Polymer Dosing Pump #2 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTM87AP001 | SRS Acid Ejector Pump | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTQ21AP001 | Process Water Pump #1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTQ22AP001 | Process Water Pump #2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTQ36AP001 | Emergency Quenching Pump1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTQ36AP002 | Emergency Quenching Pump2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTQ51AP001 | Mist Eliminator Wash Pump#1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTQ52AP001 | Mist Eliminator Wash Pump#2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTQ54AP001 | GGH High Pressure Washing Pump Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTT11AP001 | GGH.Drain Pit Pump#1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTT12AP001 | GGH.Drain Pit Pump#2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTT21AP001 | Abs.Drain Pit Pump#1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTT22AP001 | Abs.Drain Pit Pump#2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTT31AP001 | Service Building Drain Pit Pump#1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTT32AP001 | Service Building Drain Pit Pump#2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTW10AN001 | ID.Fan Out Damper Seal Air Fan#1 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTW10AN002 | ID.Fan Out Damper Seal Air Fan#2 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTW20AN001 | Inlet Dmpr,Guillotine,Bypass SAF#1 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTW20AN002 | Inlet Dmpr,Guillotine,Bypass SAF#2 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTW30AN001 | OUTL.Guilt and BUF Damper SAF#1 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14HTW30AN002 | OUTL.Guilt and BUF Damper SAF#2 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14LAC11AP001 | TDBFP.1 Booster Pump Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14LAC11AP002 | TDBFP.1 Main Pump Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14LAC12AP001 | TDBFP.2 Booster Pump Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14LAC12AP002 | TDBFP.2 Main Pump Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14LAC13AP001 | Motor Drive Boiler Feedwater Pump Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14LAV13AP001 | MDBFP.Main Lube.Oil Pump | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14LAV13AP002 | MDBFP.Auxiliary Lube.Oil Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14LAV13AP003 | MDBFP.Emergency Lube.Oil Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14LAX13AP001 | MDBFP.Working Oil Pump | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14LBF20AP001 | HP.Bypass Hydraulic Pump no.1 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14LBF20AP002 | HP.Bypass Hydraulic Pump no.2 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14LBF20AP003 | HP.Bypass Hydraulic Regeneration Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14LBF20AP004 | HP.Bypass Hydraulic Regen.Vacuum Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14LCB11AP001 | CEP.1 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14LCB12AP001 | CEP.2 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14LCJ31AP001 | LP.3 Heater Drn.Recov.Pump 1 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14LCJ32AP001 | LP.3 Heater Drain Recov.Pump 2 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14LCL20AP001 | Low Pressure Startup Pump A Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14LCL40AP001 | Low Pressure Start-Up Pump B Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14LDJ40AN001 | CPP.Sample Chiller Cooling fan | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14LDJ40AP001 | CPP.Sample Chiller Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14LDN11AP001 | CPP.Caustic Transfer Pump 1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14LDN12AP001 | CPP.Caustic Transfer Pump 2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14LDN16AP001 | CPP.Caustic Injection Pump 1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14LDN17AP001 | CPP.Caustic Injection Pump 2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14LDN21AP001 | CPP.Acid Transfer Pump 1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14LDN22AP001 | CPP.Acid Transfer Pump 2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14LDN26AP001 | CPP.Acid Injection Pump 1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14LDN27AP001 | CPP.Acid Injection Pump 2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14LDN31AP001 | CCP.Acid Fume Scrubber Recir.Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14LDP15AN001 | Mixed Bed Air Blower 1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14LDP15AN002 | Mixed Bed Air Blower 1 Fan | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14LDP16AN001 | Mixed Bed Air Blower 2 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14LDP16AN002 | Mixed Bed Air Blower 2 Fan | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14LDP17AN001 | Conesep Air Blower 1 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14LDP17AN002 | Conesep Air Blower 1 Fan | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14LDP18AN001 | Conesep Air Blower 2 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14LDP18AN002 | Conesep Air Blower 2 Fan | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14LDP51AP001 | Rinse Recycle Pump 1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14LDP52AP001 | Rinse Recycle Pump 2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14LDR21AP001 | Chemical Waste Transfer Pump 1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14LDR22AP001 | Chemical Waste Transfer Pump 2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14LDR23AP001 | Waste Water Transfrt Pump #3 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14LDR24AP001 | Waste Water Transfrt Pump #4 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14LDR31AP001 | Non Chemical Wastetransfer Pump 1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14LDR32AP001 | Non Chemical Wastetransfer Pump 2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14LFN20AP001 | Ammo.Diaphragm Metering Pump 1 52Barg | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14LFN20AP002 | Ammo.Diaphragm Metering Pump 2 52Barg | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14LFN20AP003 | Ammonia Drum Pump | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14LFN50AP001 | O2-Scavg.Diaphragm Metering Pump 1 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14LFN50AP002 | O2-Scavg.Diaphragm Metering Pump 2 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14LFN50AP003 | O2-Scavg.Drum Pump | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14MAJ11AP001 | Vacuum Pump 1 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14MAJ12AP001 | Vacuum Pump 2 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14MAJ13AP001 | Vacuum Pump 3 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14MAK90AN001 | Aux.Turning Gear Air Motor | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14MAN10AP001 | LP.Bypass Hydraulic Pump 1 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14MAN10AP002 | LP.Bypass Hydraulic Pump 2 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14MAN10AP003 | LP.Bypass Hydraulic Regeneration unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14MAN10AP004 | LP.Bypass Hydraulic Regen.Vacuum Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14MAV02AN001 | Lube Oil Tank Vapour Extraction 1 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14MAV02AN002 | Lube Oil Tank Vapour Extraction 2 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14MAV21AP011 | Main Oil Pump | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14MAV21AP021 | Auxiliary Oil Pump Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14MAV21AP031 | Emergency Oil Pump Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14MAV50AP001 | Jacking Oil Pump 1 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14MAV50AP002 | Jacking Oil Pump 2 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14MAV92AP001 | Lube Oil Cond.Unit Feed Pump | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14MAW30AN001 | Gland Steam Suction Exhaust Fan 1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14MAW30AN002 | Gland Steam Suction Exhaust Fan 2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14MAX11AP001 | Hydraulic Pump 1 Motor Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14MAX11AP002 | Hydraulic Pump 2 Motor Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14MAX11AP011 | Hydraulic Main Pump 1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14MAX11AP012 | Hydraulic Main Pump 2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14MAX11AP021 | Hydraulic Condition Hydraulic Pmp 1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14MAX11AP022 | Hydraulic Condition Hydraulic Pmp 2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14MAX11AP031 | Hydraulic Compensate Pump 1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14MAX11AP032 | Hydraulic Compensate Pump 2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14MAX96AP001 | Hydraulic Regen.Unit Hydraulic Pump Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14MKA13AN120 | Fan On Generator Rotor | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14MKB43AN100 | Fan On Slip Ring Rotor | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14MKF31AP001 | Stator Water Pump 1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14MKF32AP001 | Stator Water Pump 2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14MKG54AN001 | H2 Circulating Fan Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14MKG62AP001 | CO2 Exp.Device Circulating Pump 1 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14MKG62AP002 | CO2 Exp.Device Circulating Pump 2 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14MKG75AN001 | Gel Drying Fan Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14MKQ11AN001 | H2 Seal Oil Vacuum Pump | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14MKQ11AP001 | Vaccuum Pump Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14MKQ21AN001 | Air Oil Tank Exhaust Blower 1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14MKQ22AN001 | Air Oil Tank Exhaust Blower 2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14MKW21AP001 | H2 Seal Oil Pump 1 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14MKW22AP001 | H2 Seal Oil Pump 2 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14MKW23AP001 | Emergency Seal Oil Pump Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14MKW36AP001 | Vacuum Seal Oil Pump Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14MKW42AP001 | H2 Seal Oil Pump DE Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14MKW46AP001 | H2 Seal Oil Pump NDE Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14PAC11AP001 | CWP.11 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14PAC12AP001 | CWP.12 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14PAC13AP001 | CWP.13 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14PAC41AP001 | ACWP.41 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14PAC42AP001 | ACWP.42 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14PAD11AN001 | CT.Cell 11 Fan | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14PAD12AN001 | CT.Cell 12 Fan | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14PAD13AN001 | Cooling Tower Fan 13 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14PAD14AN001 | CT.Cell 14 Fan | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14PAD15AN001 | CT.Cell 15 Fan | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14PAD16AN001 | CT.Cell 16 Fan | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14PAD17AN001 | CT.Cell 17 Fan | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14PAD18AN001 | CT.Cell 18 Fan | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14PAD21AN001 | CT.Cell 21 Fan | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14PAD22AN001 | CT.Cell 22 Fan | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14PAD23AN001 | CT.Cell 23 Fan | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14PAD24AN001 | CT.Cell 24 Fan | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14PAD25AN001 | CT.Cell 25 Fan | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14PAD26AN001 | CT.Cell 26 Fan | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14PAD27AN001 | CT.Cell 27 Fan | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14PAD28AN001 | CT.Cell 28 Fan | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14PAH31AP001 | CTCS.31 Pump | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14PAH32AP001 | CTCS.32 Pump | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14PAR21AP001 | CTMU.Pump A | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14PAR22AP001 | CTMU.Pump B | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14PBB21AP001 | CT Filtration Booster Pump 1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14PBQ61AP001 | Chlorine Injection Booster Pump A | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14PBQ62AP001 | Chlorine Injection Booster Pump B | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14PCH40AP001 | CTCS.CCW.Pump | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14PGA91AP001 | CCW.To CW.Booster Pump A Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14PGA91AP002 | CCW.To CW.Booster Pump B Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14PGC01AP001 | CCW.Pump#1 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14PGC02AP001 | CCW.Pump#2 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14QEA08AN000 | Air Comp.PLC Control Auto Chang Cabinet | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14QEA08AN001 | Air Comp.No.1 For Dedusting | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14QEA08AN002 | Air Comp.No.2 For Dedusting | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14QEA08AN003 | Air Comp.No.3 For De-Dusting | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14QEA11AN001 | Station Air Comp.QEA11 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14QEA12AN001 | Station Air Comp.QEA12 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14QEA13AN001 | Station Air Comp.QEA13 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14QEA41AN001 | Instrument Air Compressor 41 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14QEA42AN001 | Instrument Air Compressor 42 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14QEA43AN001 | Instrument Air Compressor 43 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14QEA71AN001 | Fly Ash Air Comp.QEA71 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14QEA72AN001 | Fly Ash Air Comp.QEA72 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14QEA73AN001 | Fly Ash Air Comp.QEA73 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14QKB30AN001 | B30 EF LV cable room (EF-01-01) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14QKB30AN002 | B30 EF LV cable room (EF-01-02) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14QKB30AN003 | B30 SEF LV cable room (SEF-01-01) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14QKB30AN004 | B30 SEF LV cable room (SEF-01-02) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14QKB30AN005 | B30 EF Battery room (EF-02-01) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14QKB30AN006 | B30 EF Battery room (EF-02-02) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14QKB30AN007 | B30 EF LV room (EF-02-03) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14QKB30AN008 | B30 EF LV room (EF-02-04) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14QKB30AN009 | B30 EF MV room (EF-02-05) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14QKB30AN010 | B30 EF MV room (EF-02-06) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14QKB30AN011 | B30 EF Higher cable room (EF-03-01) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14QKB30AN012 | B30 EF Higher cable room (EF-03-02) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14QKB30AN013 | B30 SEF Higher cable room (SEF-03-01) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14QKB30AN014 | B30 SEF Higher cable room (SEF-03-02) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14QKB30AN015 | B30 EF AHU room (EF-03-03) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14QKB30AN016 | B30 EF AHU room (EF-03-04) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14QKB30AN017 | B30 EF Control system room (EF-04-01) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14QKB30AN018 | B30 EF Control system room (EF-04-02) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14QKB30AN019 | B30 EF Offline system room (EF-04-03) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14QKB30AN020 | B30 EF Offline system room (EF-04-04) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14QKB30AN021 | B30 EF AHU room (EF-04-05) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14QKB30AN022 | B30 EF AHU room (EF-04-06) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14QKB30AN023 | B30 EF AHU room (EF-04-07) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14QKB30AN024 | B30 EF LV room (EF-04-08) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14QKB30AN025 | B30 EF 25 LV room (EF-04-09) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14QKB30AN026 | B30 EF CCR (EF-05-01) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14QKB30AN027 | B30 EF CCR (EF-05-02) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14QKB30AN028 | B30 EF Observation room (EF-05-03) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14QKB30AN029 | B30 EF Shift charge room (EF-05-04) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14QKB30AN030 | B30 EF Conference room (EF-05-05) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14QKB30AN031 | B30 EF Break room (EF-05-06) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14QKB30AN032 | B30 EF Printer room (EF-05-07) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14QKB30AN033 | B30 EF Programming room (EF-05-08) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14QKB30AN034 | B30 EF Programming room (EF-05-09) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14QKB30AN035 | B30 EF Server room (EF-05-10) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14QKB30AN036 | B30 EF W/M sanitary room (EF-05-011) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14QKB30AN037 | B30 Pressurized fan (PF-01) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14QKB35AN001 | B35 EF (EF-02-01) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14QKB35AN002 | B35 EF (EF-02-02) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14QKB35AN003 | B35 EF (EF-02-03) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14QKB35AN004 | B35 EF (EF-02-04) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14QKB35AN005 | B35 EF (EF-R-01) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14QKB35AN006 | B35 EF (EF-R-02) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14QKB35AP001 | B35 Chiller water pump 1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14QKB35AP002 | B35 Chiller water pump 2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14QKC30AP001 | B30 Chilled water pump 1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14QKC30AP002 | B30 Chilled water pump 2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14QKC30AP003 | B30 Chilled water pump 3 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14QSD10AP102 | Waste Oil Pump A Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14QSD10AP103 | Waste Oil Pump B Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAC01AN001 | C46 FAN-1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAC01AN002 | C46 FAN-2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAC01AN003 | C46 FAN-3 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAC04AN001 | C08 FAN-1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAC04AN002 | C08 FAN-2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAC06AN001 | D08 FAN-1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAC06AN002 | D08 FAN-2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAC06AN003 | D08 FAN-3 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAE08AN001 | C08 CEIL MOUNTED EF-1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAE08AN002 | C08 CEIL MOUNTED EF-2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAE08AN003 | C08 Wall Fan EF-3 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAE08AN004 | C08 Wall Fan EF-4 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAF04AN001 | L04 WALL FAN OXIDATION (EF-1) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAF04AN002 | L04 WALL FAN OXIDATION (EF-2) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAF04AN003 | L04 WALL FAN OXIDATION (EF-3) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAF04AN004 | L04 WALL FAN PUMP ROOM (EF-4) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAF04AN005 | L04 WALL FAN PUMP ROOM (EF-5) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAF04AN006 | L04 WALL FAN PUMP ROOM (EF-6) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAF04AN007 | L04 WALL FAN PUMP ROOM (EF-7) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAF07AN001 | L07 Exhaust Fan (SEF-1) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAF07AN002 | L07 Exhaust Fan (EF-1) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAF07AN003 | L07 Exhaust Fan (EF-2) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAF07AN004 | L07 Exhaust Fan (EF-3) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAF07AN005 | L07 Exhaust Fan (EF-4) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAF07AN006 | L07 Exhaust Fan (EF-5) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAF07AN007 | L07 Exhaust Fan (EF-6) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAF07AN008 | L07 Exhaust Fan (EF-7) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAF07AN009 | L07 Exhaust Fan (EF-8) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAF07AN010 | L07 Exhaust Fan (EF-9) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAF07AN011 | L07 Exhaust Fan (EF-10) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAF07AN012 | L07 Exhaust Fan (EF-11) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAF07AN013 | L07 Exhaust Fan (EF-12) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAF07AN014 | L07 Exhaust Fan (EF-13) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAF07AN015 | L07 Exhaust Fan (EF-14) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAF07AN016 | L07 Exhaust Fan (EF-15) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAF07AN017 | L07 Exhaust Fan (EF-16) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAF07AN018 | L07 Exhaust Fan (EF-17) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAF07AN019 | L07 Exhaust Fan (EF-18) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAF07AN020 | L07 Exhaust Fan (EF-19) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAF07AN021 | L07 Exhaust Fan (SEF-2) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAF07AN022 | L07 Exhaust Fan (EF-20) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAF07AN023 | L07 Exhaust Fan (EF-21) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAF07AN024 | L07 Exhaust Fan (EF-22) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAF07AN025 | L07 Exhaust Fan (EF-23) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAF07AN026 | L07 Exhaust Fan (MEN 1) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAF07AN027 | L07 Exhaust Fan (Room 2) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAF07AN028 | L07 Exhaust Fan (EF-26) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAF07AN029 | L07 Exhaust Fan (EF-27) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAF07AN030 | L07 Exhaust Fan (EF-28) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAF07AN031 | L07 Exhaust Fan (EF-29) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAF07AN032 | L07 Exhaust Fan (EF-30) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAF07AN033 | L07 Exhaust Fan (EF-31) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAF07AN034 | L07 Exhaust Fan (EF-32) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAF07AN035 | L07 Exhaust Fan (EF-33) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAF07AN036 | L07 Exhaust Fan (EF-34) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAF07AN037 | L07 Exhaust Fan (EF-35) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAF07AN038 | L07 Exhaust Fan (EF-36) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAF07AN039 | L07 Pressurized Fan (SMF-1) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAF07AP001 | L07 Chiller Pump (PUMP-2) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAF07AP002 | L07 Chiller Pump (PUMP-1) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAG05AN001 | G05 CEILING MOUNTED EF-1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAG05AN002 | G05 CEILING MOUNTED EF-2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAG05AN003 | G05 CEILING MOUNTED EF-3 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAG05AN004 | G05 Wall Fan EF-4 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAG05AN005 | G05 Wall Fan EF-5 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAG05AN006 | G05 Wall Fan EF-6 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAG05AN007 | G05 Wall Fan EF-7 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAG05AN008 | G05 Wall Fan EF-8 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAG05AN009 | G05 Wall Fan EF-9 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAG05AN010 | G05 Wall Fan EF-10 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAG05AN011 | G05 Wall Fan EF-11 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAG05AN012 | G05 Wall Fan EF-12 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAG05AN013 | G05 Wall Fan EF-13 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAG05AN014 | G05 Wall Fan EF-14 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAG05AN015 | G05 Wall Fan EF-15 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAG05AN016 | G05 Wall Fan EF-16 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAH10AN001 | Tripper Room Ventilation Fan A | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAH10AN002 | Triper Gallery Fan B | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAH10AN003 | B01 AIRCONDITION INDOOR-AIRDISTRIBUTION | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAH10AN004 | B01 AIRCONDITION INDOOR-AIRDISTRIBUTION | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAM40AN001 | D08 EF-1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAM40AN002 | D08 EF-2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAM63AN001 | B63 Roof Fan No.1 (RF-1, SPH-1) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAM63AN002 | B63 Roof Fan No.1 (RF-2, SPH-2) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAM63AN003 | B63 Roof Fan No.1 (RF-3, SPH-3) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAM63AN004 | B63 Roof Fan No.1 (RF-4, SPH-4) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAM63AN005 | B63 Roof Fan No.1 (RF-5, SPH-5) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAM63AN006 | B63 Roof Fan No.1 (RF-6, SPH-6) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAM63AN007 | B63 Roof Fan No.1 (RF-7, SPH-7) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAM63AN008 | B63 Roof Fan No.1 (RF-8, SPH-8) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAM63AN009 | B63 Roof Fan No.1 (RF-9, SPH-9) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAM63AN010 | B63 Roof Fan No.1 (RF-10, SPH-10) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAM63AN011 | B63 Roof Fan No.1 (RF-11, SPH-11) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAM63AN012 | B63 Roof Fan No.1 (RF-12, SPH-12) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAM63AN013 | B63 Roof Fan No.1 (RF-13, SPH-13) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAM63AN014 | B63 Roof Fan No.1 (RF-14, SPH-14) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAM63AN015 | B63 Roof Fan No.1 (RF-15, SPH-15) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAM63AN016 | B63 Roof Fan No.1 (RF-16, SPH-16) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAM63AN017 | B63 Roof Fan No.1 (RF-17, SPH-17) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAM63AN018 | B63 Roof Fan No.1 (RF-18, SPH-18) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAM63AN019 | B63 Roof Fan No.1 (RF-19, SPH-19) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAM63AN020 | B63 Roof Fan No.1 (RF-20, SPH-20) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAM63AN021 | B63 Roof Fan No.1 (RF-21, SPH-21) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAM63AN022 | B63 Roof Fan No.1 (RF-22, SPH-22) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAM63AN023 | B63 Exhaust Fan (EF-1) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAM63AN024 | B63 Exhaust Fan (EF-2) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAM63AN025 | B63 Supply Fan (SF-1) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAM63AN026 | B63 Supply Fan (SF-2) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAM63AN027 | B63 Exhaust Fan (EF-3) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAM63AN028 | B63 Exhaust Fan (EF-4) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAM63AN029 | B63 Exhaust Fan (EF-5) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAM63AN030 | B63 Exhaust Fan (EF-6) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAM63AN031 | B63 Exhaust Fan EL + 0.00 (Toilet Room) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAM63AN032 | B63 Exhaust Fan EL + 14.00 (Toilet Room) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAM63AN033 | B63 Pressurized Fan (SMF-1) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAM95AN001 | B95 EF | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAQ42AN001 | G42 Tube Axial Fan EF-1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAQ42AN002 | G42 Tube Axial Fan EF-2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAQ42AN003 | G42 Wall Fan EF-3 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAQ42AN004 | G42 Wall Fan EF-4 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAQ42AN005 | G42 Wall Fan EF-5 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAQ42AN006 | G42 Wall Fan EF-6 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAR06AN001 | E06 CEILING MOUNTED EF-1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAR06AN002 | E06 Wall Fan EF-2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAR06AN003 | E06 Wall Fan EF-3 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAR06AN004 | E06 Wall Fan EF-4 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAR07AN011 | E07 EF-1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAR07AN012 | E07 EF-2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAT08AN001 | G08 Wall Fan EF-1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAT08AN002 | G08 Wall Fan EF-2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAT08AN003 | G08 Wall Fan EF-3 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAT08AN004 | G08 Wall Fan EF-4 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAT20AN001 | D20 Wall Fan EF-1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAT20AN002 | D20 Wall Fan EF-2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAT20AN003 | D20 Wall Fan EF-3 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAT20AN004 | D20 Wall Fan EF-4 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAT89AN001 | B89 Natural RF-1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAT89AN002 | B89 Natural RF-2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAT89AN003 | B89 Natural RF-3 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAT89AN004 | B89 Natural RF-4 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAT89AN005 | B89 Natural RF-5 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAT89AN006 | B89 Natural RF-6 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAU04AN001 | K04 CEILING MOUNTED FAN EF-1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAU04AN002 | K04 CEILING MOUNTED FAN EF-2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAU04AN003 | K04 CEILING MOUNTED FAN EF-3 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAU60AN001 | G60 Wall Fan EF-1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SAU60AN002 | G60 Wall Fan EF-2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SGA10AP001 | Jockey Fire Pump | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SGA11AP001 | Electric Driven Fire Pump | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SGA12AP001 | Diesel Engine Driven Fire Pump | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SGA78AP001 | Jockey Pump(To Boiler) Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SGA78AP002 | Electric Fire Pump(To Boiler) Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14SGA78AP003 | FFW.BUF.Fire Pmp.Diesel Engine Driv.Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14UCB01AN001 | C46 VENTILATION FAN-1 (EF-ME-01) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14UCB01AN002 | C46 VENTILATION FAN-2 (EF-ME-02) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14UCB01AN003 | C46 VENTILATION FAN-3 (EF-ME-03) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14UCB01AN004 | C46 VENTILATION FAN-4 (EF-ME-04) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14UCB01AN005 | C46 VENTILATION FAN-5 (FF-EE-01) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14UCB01AN006 | C46 VENTILATION FAN-6 (EF-EE-01) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14UCB01AN007 | C46 VENTILATION FAN-7 (FF-EE-02) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14UCB01AN008 | C46 VENTILATION FAN-8 (EF-EE-02) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14UCB01AN009 | C46 VENTILATION FAN-9 (EF-TF1-01) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14UCB01AN010 | C46 VENTILATION FAN-10 (EF-TF2-01) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14UCB01AN011 | C46 VENTILATION FAN-11 (EF-BT-01) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14UCB01AN012 | C46 VENTILATION FAN-12 (EF-BT-02) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14XAV02AN001 | TDBFP.1 Lube Oil Tank Vapor Ext.001 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14XAV02AN002 | TDBFP.1 Lube Oil Tank Vapor Ext.002 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14XAV21AP021 | TDBFP.1 Auxiliary Oil Pump 021 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14XAV21AP022 | TDBFP.1 Auxiliary Oil Pump 022 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14XAV21AP031 | TDBFP.1 Emergency Oil Pump | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14XAV50AP001 | TDBFP.1 Jacking Oil Pump 001 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14XAV50AP002 | TDBFP.1 Jacking Oil Pump 002 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14XAV92AP001 | TDBFP.1 Oil Conditioning Unit Feed Pump | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14XAX11AP001 | TDBFP.1 Hydraulic Pump 1 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14XAX11AP002 | TDBFP.1 Hydraulic Pump 2 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14XAX11AP011 | TDBFP.1 Hydraulic Pump 011 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14XAX11AP012 | TDBFP.1 Hydraulic Pump 012 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14XAX11AP021 | TDBFP.1 Hydr.Conditioning Hydr.Pump 1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14XAX11AP022 | TDBFP.1 Hydr.Conditioning Hydr.Pump 2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14XAX96AP001 | TDBFP.1 Hydr.Regen.Hydr.Pump | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14XKA03AP001 | Emergency Diesel Generator | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14XKA10AN102 | Axial Flow Fan Mot.1 21M2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14XKA10AN103 | Axial Flow Fan Mot.2 21M3 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14XKA10AN201 | Fuel Cooler Motor 22M1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14XKA10AN202 | Cooling Fan 22M2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14XKA10AN401 | Radiator Fan No.1 24M1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14XKA10AN402 | Radiator Fan No.2 24M2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14XKA10AN403 | Radiator Fan No.7 24M3 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14XKA10AN404 | Radiator Fan No.8 24M4 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14XKA10AN501 | Radiator Fan No.3 25M1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14XKA10AN502 | Radiator Fan No.4 25M2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14XKA10AN503 | Radiator Fan No.9 25M3 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14XKA10AN504 | Radiator Fan No.10 25M4 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14XKA10AN601 | Radiator Fan No.5 26M1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14XKA10AN602 | Radiator Fan No.6 26M2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14XKA10AN603 | Radiator Fan No.11 26M3 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14XKA10AN604 | Radiator Fan No.12 26M4 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14XKA10AP001 | EDG.CT. Cold Wtr.Outlet Bstr.Pump | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14XKA10AP203 | Water Pump 22M3 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14XKA31AN001 | EDG.Recirculating Air Compressor 1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14XKA31AN002 | EDG.Recirculating Air Compressor 2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14XKA32AN001 | EDG.Recirculating Air Comp.2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14XKF11AP001 | EDG.Cooling Tower Circulating Pump | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14YAV02AN001 | TDBFP.2 Lube Oil Tank Vapor Ext.001 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14YAV02AN002 | TDBFP.2 Lube Oil Tank Vapor Ext.002 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14YAV21AP021 | TDBFP.2 Auxiliary Oil Pump 021 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14YAV21AP022 | TDBFP.2 Auxiliary Oil Pump 022 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14YAV21AP031 | TDBFP.2 Emergency Oil Pump | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14YAV50AP001 | TDBFP.2 Jacking Oil Pump 001 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14YAV50AP002 | TDBFP.2 Jacking Oil Pump 002 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14YAV92AP001 | TDBFP.2 Oil Conditioning Unit Feed Pump | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14YAX11AP001 | TDBFP.2 Hydraulic Pump 1 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14YAX11AP002 | TDBFP.2 Hydraulic Pump 2 Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14YAX11AP011 | TDBFP.2 Hydraulic Pump 011 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14YAX11AP012 | TDBFP.2 Hydraulic Pump 012 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14YAX11AP021 | TDBFP.2 Hydr.Conditioning Hydr.Pump 1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14YAX11AP022 | TDBFP.2 Hydr.Conditioning Hydr.Pump 2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14YAX96AP001 | TDBFP.2 Hydr.Regen.Hydr.Pump | Mae Moh Power Plant | vibration | 8 | 10
MMP-T14ZAA01AN001 | Work Shop Air Compressor Unit | Mae Moh Power Plant | vibration | 8 | 10
MMP-T45HTJ06AN001 | Dust Collector Fan | Mae Moh Power Plant | vibration | 8 | 10
MMP-T45HTK13AP001 | Reagent Feed Pump#1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T45HTK15AP001 | Reagent Feed Pump#2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T45HTK31AP010 | WBM.Low Pressure Oil Pump | Mae Moh Power Plant | vibration | 8 | 10
MMP-T45HTK31AP011 | High Pressure Oil Pump | Mae Moh Power Plant | vibration | 8 | 10
MMP-T45HTK35AP001 | Mill Recycle Pump No.1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T45HTK37AP001 | Mill Recycle Pump No.2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T47HTQ01AP001 | Raw Water Pump #1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T47HTQ03AP001 | Raw Water Pump #2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T47HTQ11AP001 | Process Water Pump #1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T47HTQ13AP001 | Process Water Pump #2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T47HTQ15AP001 | Process Water Pump #3 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T47HTQ17AP001 | Process Water Pump #4 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T47HTQ21AP001 | Reclaimed Water Pump No.1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T47HTQ23AP001 | Reclaimed Water Pump No.2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T47HTT31AP001 | Reagent Prep.Drain Pit Pump No.1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T47HTT32AP001 | Reagent Prep.Drain Pit Pump No.2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T47PGF01AP001 | Sulphuric Acid Pump | Mae Moh Power Plant | vibration | 8 | 10
MMP-T47PGF04AP001 | Sodium Hypo. Pump | Mae Moh Power Plant | vibration | 8 | 10
MMP-T47PGF07AP001 | Corrosion Inhib. Pump | Mae Moh Power Plant | vibration | 8 | 10
MMP-T47PGF15AP001 | CCCW.Pump #2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T47PGF17AP001 | CCCW.Pump #1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T47PGF22AN001 | CCCW. Cooling Tower Fan #1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T47PGF22AN002 | CCCW. Cooling Tower Fan #2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T47PGF22AN003 | CCCW. Cooling Tower Fan #3 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T47SCF31AN001 | FGD Area Service Air Comp.#3 (Lime) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T47SCF31AP001 | FGD Area Serv.Air Comp.#3 Oil Pump | Mae Moh Power Plant | vibration | 8 | 10
MMP-T47SCF41AN001 | FGD Area Service Air Comp.#4 (Lime) | Mae Moh Power Plant | vibration | 8 | 10
MMP-T47SCF41AP001 | FGD Area Serv.Air Comp.#4 Oil Pump | Mae Moh Power Plant | vibration | 8 | 10
MMP-T67HTJ06AN001 | Dust Collector Fan | Mae Moh Power Plant | vibration | 8 | 10
MMP-T67HTK13AP001 | Reagent Feed Pump#1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T67HTK15AP001 | Reagent Feed Pump#2 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T67HTK31AP010 | WBM.Low Pressure Oil Pump | Mae Moh Power Plant | vibration | 8 | 10
MMP-T67HTK31AP011 | High Pressure Oil Pump | Mae Moh Power Plant | vibration | 8 | 10
MMP-T67HTK35AP001 | Mill Recycle Pump No.1 | Mae Moh Power Plant | vibration | 8 | 10
MMP-T67HTK37AP001 | Mill Recycle Pump No.2 | Mae Moh Power Plant | vibration | 8 | 10